## Sheet1
Button | Register | Modbus adress | Description | Adress | Goto | Screen
SG1 | M0 | {Link2}2@RWB-0800 | Turning off SG1 | 800
SG1 |  |  | Turning On SG1 | 801
SG6 | M110 | {Link2}2@RWB-086E | Turning On SG6 | 86E |  | 2
SG6 | M26 | {Link2}2@RWB-081A | Turn off SG6 | 81A |  | 2
SL1 | M115 | {Link2}2@RWB-0873 | Turn on SL1 | 873 |  | 2
SL1 | M27 | {Link2}2@RWB-081B | Turn of SL1 | 81B |  | 2
SC1 | M120 | {Link2}2@RWB-0878 | Turn on SC1 | 878 |  | 2
SC1 | M28 | {Link2}2@RWB-081C | Turn off SC1 | 81C |  | 2
C12 |  |  |  |  | C12_Screen | 2
C14 |  |  |  |  | C14_Screen | 2
Menu |  |  |  |  | Main_Menu_Screen | 2
Micro-Grid Lab |  |  |  |  | MicroGrid Lab Steps | 3
Synchronus Lab |  |  |  |  | Synchronous lab steps | 3
3 Phase Transformer Lab |  |  |  |  | 3 Phase Transformer | 3
Main Menu |  |  |  |  | Main_Menu_Screen | 4
Synchronisation Steps |  |  |  |  | Synchronization | 4
Back To Home |  |  |  |  | Home_Screen | 4
SP |  |  |  |  | SP_Screen | 5
Line 3 |  |  |  |  | Line3_Screen | 5
LOAD 1 |  |  |  |  | Load1_Screen | 5
LOAD 2 |  |  |  |  | Load2_Screen | 5
LOAD 3 |  |  |  |  | Load3_Screen | 5
LOAD 4 |  |  |  |  | Load4_Screen | 5
LOAD 5 |  |  |  |  | Load5_Screen | 5
SYNC 2 |  |  |  |  | Sync2_Screen | 5
LINE 2 |  |  |  |  | Line2_Screen | 5
LINE 1 |  |  |  |  | Line1_Screen | 5
POWER SUPPLY |  |  |  |  | Power_Supply | 5
SYNC 1 |  |  |  |  | Sync1_Screen | 5
G1 |  |  |  |  | G1_Screen | 5
G2 |  |  |  |  | G2_Screen | 5
G3 |  |  |  |  | G3_Screen | 5
G4 |  |  |  |  | G4_Screen | 5
Synchronising G1 and G2 together |  |  |  |  | SyncG1&G2 | 6
Synchronising Micro-Grid (POOL COLOR ) To the SP |  |  |  |  | Sync Micro&Pool | 6
Synchronising G1 to the Grid |  |  |  |  | SyncG1 to Grid | 6
Synchronising G2 to the Grid |  |  |  |  | SyncG2 to Grid | 6
Back to synchronus lab steps |  |  |  |  | Synchronous lab steps | 6
Back To Micro-Grid steps |  |  |  |  | MicroGrid Lab Steps | 6
Back to synchronus steps |  |  |  |  | Synchronization | 7
Back to synchronus steps |  |  |  |  | Synchronization | 8
Back to synchronus steps |  |  |  |  | Synchronization | 9
Back to synchronus steps |  |  |  |  | Synchronization | 10
Main Menu |  |  |  |  | Main_Menu_Screen | 11
Synchronisation Steps |  |  |  |  | Synchronization | 11
Back To Home Screen |  |  |  |  | Home_Screen | 11
SP1 | M35 | {Link2}2@RWB-0823 | Turn on SP1 | 823 |  | 12
SP1 | M7 | {Link2}2@RWB-0807 | Turn off SP1 | 807 |  | 12
C9 |  |  |  |  | C9_Screen | 12
Main Menu |  |  |  |  | Main_Menu_Screen | 12
SP2 | M40 | {Link2}2@RWB-0828 | Turn on SP2 | 828 |  | 14
SP2 | M8 | {Link2}2@RWB-0808 | Turn off SP2 | 808 |  | 14
SC2 | M125 | {Link2}2@RWB-087D | Onn SC2 | 87D |  | 14
SC2 | M29 | {Link2}2@RWB-081D | Off SC2 | 81D |  | 14
C10 |  |  |  |  | C10_Screen | 14
C11 |  |  |  |  | C11_Screen | 14
BACK |  |  |  |  | Main_Menu_Screen | 14
POWER |  |  |  |  | C10_Power_Screen | 15
GO BACK |  |  |  |  | Line3_Screen | 15
GO BACK |  |  |  |  | C10_Screen | 16
POWER |  |  |  |  | C11_Power_Screen | 17
GO BACK |  |  |  |  | Line3_Screen | 17
GO BACK |  |  |  |  | C11_Power_Screen | 18
SC3 | M130 | {Link2}2@RWB-0882 | on SC3 | 882 |  | 19
SC3 | M31 | {Link2}2@RWB-081F | off SC3 | 81F |  | 19
Main Menu |  |  |  |  | Main_Menu_Screen | 19
SC4 | M135 | {Link2}2@RWB-0887 | on SC4 | 887 |  | 20
SC4 | M32 | {Link2}2@RWB-0820 | off SC4 | 820 |  | 20
Main Menu |  |  |  |  | Main_Menu_Screen | 20
SC5 | M140 | {Link2}2@RWB-088C | on SC5 | 88C |  | 21
SC5 | M33 | {Link2}2@RWB-0821 | off SC5 | 821 |  | 21
C16 |  |  |  |  | C16_Screen | 21
Main Menu |  |  |  |  | Main_Menu_Screen | 21
POWER |  |  |  |  | C16_Power_Screen | 22
GO BACK |  |  |  |  | Load3_Screen | 22
GO BACK |  |  |  |  | Load3_Screen | 23
SC6 | M65 | {Link2}2@RWB-0841 | SC6 On | 841 |  | 24
SC6 | M14 | {Link2}2@RWB-080E |  | 80E |  | 24
Main Menu |  |  |  |  | Main_Menu_Screen | 24
SC7 | M70 | {Link2}2@RWB-0846 | SC7 ON | 846 |  | 25
SC7 | M16 | {Link2}2@RWB-0810 | SC7 Off | 810 |  | 25
Main Menu |  |  |  |  | Main_Menu_Screen | 25
SP4 | M60 | {Link2}2@RWB-083C |  | 83C |  | 26
SP4 | M13 | {Link2}2@RWB-080D |  | 80D |  | 26
SP5 | M55 | {Link2}2@RWB-0837 | SP5 ON | 837 |  | 26
SP5 | M12 | {Link2}2@RWB-080C | SP5 OFF | 80C |  | 26
Main Menu |  |  |  |  | Main_Menu_Screen | 26
SG5 | M105 | {Link2}2@RWB-0869 | SG5 ON | 869 |  | 27
SG5 | M24 | {Link2}2@RWB-0818 | SG5 OFF | 818 |  | 27
SP3 | M45 | {Link2}2@RWB-082D | SP3 ON | 82D |  | 27
SP3 | M9 | {Link2}2@RWB-0809 | SP3 OFF | 809 |  | 27
C7 |  |  |  |  | C7_Screen | 27
C8 |  |  |  |  | C8_Screen | 27
Main Menu |  |  |  |  | Main_Menu_Screen | 27
POWER |  |  |  |  | C7_Power_Screen | 28
GO BACK |  |  |  |  | Line2_Screen | 28
POWER |  |  |  |  | C8_Power_Screen | 29
GO BACK |  |  |  |  | Line2_Screen | 29
GO BACK |  |  |  |  | Line2_Screen | 30
GO BACK |  |  |  |  | Line2_Screen | 31
K23 Supplu01 | M75 | {Link2}2@RWB-084B | K23 Supp01 ON | 84B |  | 32
K23 Supplu01 | M17 | {Link2}2@RWB-0811 | K23 Supp01 OFF | 811 |  | 32
K24 Supplu02 | M80 | {Link2}2@RWB-0850 | K24 Supp02 ON | 850 |  | 32
K24 Supplu02 | M18 | {Link2}2@RWB-0812 | K24 Supp02 OFF | 812 |  | 32
Main Menu |  |  |  |  | Main_Menu_Screen | 32
POWER |  |  |  |  | C12_Power_Screen | 33
GO BACK |  |  |  |  | Line1_Screen | 33
POWER |  |  |  |  | C7_Power_Screen | 34
GO BACK |  |  |  |  | Line1_Screen | 34
GO BACK |  |  |  |  | C12_Screen | 35
SG7 | M25 | {Link2}2@RWB-0819 | SG7 ON | 819 |  | 36
SG7 | M4 | {Link2}2@RWB-0804 | SG7 OFF | 804 |  | 36
SG8 | M30 | {Link2}2@RWB-081E | SG8 ON | 81E |  | 36
SG8 | M6 | {Link2}2@RWB-0806 | SG8 OFF | 806 |  | 36
Main_Menu_Screen |  |  |  |  | Main_Menu_Screen | 36
GO BACK |  |  |  |  | C14_Screen | 37
SG1 | M5 | {Link2}2@RWB-0805 | SG1 ON | 805 |  | 38
SG1 | M0 | {Link2}2@RWB-0800 | SG1 OFF | 800 |  | 38
C1 |  |  |  |  | C1_Screen | 38
MAIN MENU |  |  |  |  | Main_Menu_Screen | 38
POWER |  |  |  |  | C1_Power_Screen | 39
G1_Screen |  |  |  |  | G1_Screen | 39
GO BACK |  |  |  |  | C1_Screen | 40
SG2 | M50 | {Link2}2@RWB-0832 | SG2 ON | 832 |  | 41
SG2 | M11 | {Link2}2@RWB-080B | SG2 OFF | 80B |  | 41
SG22 | M10 | {Link2}2@RWB-080A | SG22 ON | 80A |  | 41
SG22 | M1 | {Link2}2@RWB-0801 | SG22 OFF | 801 |  | 41
C2 |  |  |  |  | C2_Screen | 41
C5 |  |  |  |  | C5_Screen | 41
Main Menu |  |  |  |  | Main_Menu_Screen | 41
POWER |  |  |  |  | C1_Power_Screen | 42
GO BACK |  |  |  |  | G2_Screen | 42
GO BACK |  |  |  |  | C2_Screen | 43
POWER |  |  |  |  | C5_Power_Screen | 44
GO BACK |  |  |  |  | G2_Screen | 44
GO BACK |  |  |  |  | C5_Screen | 45
SG3 | M15 | {Link2}2@RWB-080F | SG3 ON | 80F |  | 46
SG3 | M2 | {Link2}2@RWB-0802 | SG3 OFF | 802 |  | 46
Main Menu |  |  |  |  | Main_Menu_Screen | 46
SG4 | M85 | {Link2}2@RWB-0855 | SG4 ON | 855 |  | 47
SG4 | M19 | {Link2}2@RWB-0813 | SG4 OFF | 813 |  | 47
SG44 | M20 | {Link2}2@RWB-0814 | SG44 ON | 814 |  | 47
SG44 | M3 | {Link2}2@RWB-0803 | SG44 OFF | 803 |  | 47
MAIN MENU | [5 empty] | 47
Home_Screen
#### |  | {Link3}2@RW-4085 | LINK 3 |  |  | 48
BACK |  |  |  |  | Home_Screen | 48
1 phase (L-E) | M145 | {Link2}2@RWB-0891 |  | 891 |  | 49
1 phase (L-E) | M34 | {Link2}2@RWB-0822 |  | 822 |  | 49
2 Phase (L - L) | M150 | {Link2}2@RWB-0896 |  | 896 |  | 49
2 Phase (L - L) | M36 | {Link2}2@RWB-0824 |  | 824 |  | 49
3 phase | M155 | {Link2}2@RWB-089B |  | 89B |  | 49
3 phase | M37 | {Link2}2@RWB-0825 |  | 825 |  | 49
MAIN MENU |  |  |  |  | Main_Menu_Screen | 49
1 phase (L-E) |  | {Link2}2@RWB-08AF |  |  |  | 50
1 phase (L-E) |  | {Link2}2@RWB-082A |  |  |  | 50
2 Phase (L - L) |  | {Link2}2@RWB-08B4 |  |  |  | 50
2 Phase (L - L) |  | {Link2}2@RWB-082B |  |  |  | 50
3 phase |  | {Link2}2@RWB-08B9 |  |  |  | 50
3 phase |  | {Link2}2@RWB-0528 |  |  |  | 50
MAIN MENU |  |  |  |  | Main_Menu_Screen | 50
1 phase (L-E) | [5 empty] | 51
1 phase (L-E) | [5 empty] | 51
2 Phase (L - L) | [5 empty] | 51
2 Phase (L - L) | [5 empty] | 51
3 phase | [5 empty] | 51
3 phase | [5 empty] | 51
MAIN MENU | [5 empty] | 51